| NOS Title | NOS Reference and New Version | Grid version control | Edit date | Edits by |
| --- | --- | --- | --- | --- |
| Apply solid plaster to complex internal surfaces | COSVR76v3 | Edit 1 | 27/11 | Joe |

| Performance criteria Meet the contract specification | Knowledge and understanding P5 Meet the contract specification | Knowledge and understanding P3 Selection of resources |
| --- | --- | --- |
| P5 EDIT You must be able to: | K24 EDIT You need to know and understand: | K17 EDIT You need to know and understand: |
| comply with the contract information to apply solid plaster to complex internal surfaces efficiently to the required specification by: - demonstrating work skills to: - plumb - measure - mark out - mix - apply - finish one-, two- and three-coat plaster - using and maintaining hand and power tools, and equipment - preparing background surfaces, mixing plaster and applying internal solid plaster to at least six of the following to working instructions: - internal and external angles other than 90° - splayed walls - round or arched windows - round or square columns - attached piers - beams - inclined walls or ceilings - curved surfaces - lath walls or ceilings - expanded metal lath (EML) | how to meet the contract specification in relation to the following: - how to prepare background surfaces - how to mix plaster - how to apply and finish one-, two- and three-coat plasterwork to splayed walls, round and arched windows, round and square columns, attached piers, beams, inclined walls and ceilings, curved surfaces, lath walls and ceilings and EML to solid backgrounds and board backgrounds - how to form internal and external angles other than 90°, reveals and expansion joints - how to recognise and determine when specialist skills and knowledge are required and report accordingly - the importance of recognising the limits of your own authority - the relevance of an assessment of significance - how to recognise specific requirements for structures of special interest, traditional construction, hard-to-treat buildings and historical significance - how to work with, around and in close proximity to plant and machinery - how to work at height using access equipment - how to use all hand and power tools and equipment - how and why operative care and maintenance of all hand and power tools and equipment is carried out | how the resources should be used and how any problems associated with the resources are reported in relation to: - backing coat and finishing plasters, sand, lime, cement and additives - beads and trims, scrim and tapes - expanded metal lath (EML), timber lath - clean water - hand and power tools and equipment - digital equipment |
| Key Words |  |  |
| One-coat; Two-coat; Three-coat; Curved backgrounds; Inclined-surfaces; Mixing-plaster; Expansion-joints; Internal/external-angles; Expanded metal lath; Lath walls; Solid plaster; Complex surfaces |  |  |
| Overview |  |  |
| This standard is about applying solid plaster to complex internal surfaces by preparing background surfaces, mixing plaster and applying internal solid plaster to various surfaces This standard will also involve interpreting information, adopting safe, healthy and environmentally responsible work practices, selecting and using materials, components, tools and equipment, minimising damage, and working within the allocated time, in accordance with organisational requirements which are equal to or exceed current statutory and legislative requirements This standard is for people working in the occupational area of plastering and can be used by operatives, supervisors and managers |  |  |