| NOS Title | NOS Reference and New Version | Grid version control | Edit date | Edits by |
| --- | --- | --- | --- | --- |
| Install direct bond dry lining systems | COSVR68v3 | Edit 1 | 21/11 | Joe |

| Performance criteria Meet the contract specification | Knowledge and understanding P5 Meet the contract specification | Knowledge and understanding P3 Selection of resources |
| --- | --- | --- |
| P5 EDIT You must be able to: | K24 EDIT You need to know and understand: | K17 EDIT You need to know and understand: |
| comply with the contract information to install direct bond dry lining systems efficiently to the required specification by: - demonstrating work skills to: - measure - mark out - mix - cut - apply - fit - finish - position - secure - using and maintaining hand and power tools, and equipment - preparing background surfaces, mixing bonding compounds and installing dry lining systems to working instructions to include: - direct bonding to solid backgrounds - forming openings with reveals - forming seals around perimeter and services - fitting around services | how to meet the contract specification in relation to the following: - how to mix bonding compounds - how to install internal dry linings by direct bond to solid backgrounds - how to form openings and reveals - how to fit around services - how to form seals around perimeter and services - how to repair direct bond dry internal linings - how to maintain ventilation as appropriate - how to recognise and determine when specialist skills and knowledge are required and report accordingly - the importance of recognising the limits of your own authority - the relevance of an assessment of significance - how to recognise specific requirements for structures of special interest, traditional construction, hard-to-treat buildings and historical significance - how to work with, around and in close proximity to plant and machinery - how to work at height using access equipment - how to use all hand and power tools and equipment - how and why operative care and maintenance of all hand and power tools and equipment is carried out | how the resources should be used and how any problems associated with the resources are reported in relation to: - manufactured proprietary boards - bonding compounds - fixing - hand and power tools and equipment - digital equipment |
| Key Words |  |  |
| Solid-backgrounds; Finished-joints; Plasterwork; Plastering; Dry-linings; Bonding compounds |  |  |
| Overview |  |  |
| This standard is about installing direct bond dry lining systems by preparing background surfaces, mixing bonding compounds and installing dry lining systems This standard will also involve interpreting information, adopting safe, healthy and environmentally responsible work practices, selecting and using materials, components, tools and equipment, minimising damage, and working within the allocated time, in accordance with organisational requirements which are equal to or exceed current statutory and legislative requirements This standard is for people working in the occupational area of plastering and can be used by operatives, supervisors and managers |  |  |