| NOS Title | NOS Reference and New Version | Grid version control | Edit date | Edits by |
| --- | --- | --- | --- | --- |
| Lay sand and cement screeds | COSVR69v3 | Edit 1 | 21/11 | Joe |

| Performance criteria Meet the contract specification | Knowledge and understanding P5 Meet the contract specification | Knowledge and understanding P3 Selection of resources |
| --- | --- | --- |
| P5 EDIT You must be able to: | K24 EDIT You need to know and understand: | K17 EDIT You need to know and understand: |
| comply with the contract information to lay sand and cement screeds efficiently to the required specification by: - demonstrating work skills to: - measure - mark out - clean - lay - compact - finish - using and maintaining hand and power tools, and equipment - preparing surface, mixing and laying floor screeds to working instructions relating to the following: - sand and cement screeds, level and/or to falls | how to meet the contract specification in relation to the following: - why it is necessary to prepare floor surfaces - how to lay and finish sand and cement screeds to level and falls - how to fall to drainage outlets and form skirtings - how to remove defective and repair sand and cement screeds - how to install damp proof membranes (DPM) - how to prepare screed materials - how to accommodate movement - how to lay bonded and floating screeds - how to accommodate for insulation and underfloor heating - how to reinforce screeds (fibres and mesh) - how to recognise and determine when specialist skills and knowledge are required and report accordingly - the importance of recognising the limits of your own authority - the relevance of an assessment of significance - how to recognise specific requirements for structures of special interest, traditional construction, hard-to-treat buildings and historical significance - how to work with, around and in close proximity to plant and machinery - how to work at height using access equipment - how to use all hand and power tools and equipment - how and why operative care and maintenance of all hand and power tools and equipment is carried out | how the resources should be used and how any problems associated with the resources are reported in relation to: - sand, cement, ready-mixed screeds - damp-proof membranes (DPM) - reinforcement fibre/mesh - expansion joints - hand and power tools and equipment - digital equipment |
| Key Words |  |  |
| Floor-screeds; Drainage-outlets; Form-skirtings; Damp proof membranes; Screed-rails; Ready mixed screeds |  |  |
| Overview |  |  |
| This standard is about laying sand and cement screeds by preparing surfaces and mixing and laying floor screeds This standard will involve interpreting information, adopting safe, healthy and environmentally responsible work practices, selecting and using materials, components, tools and equipment, minimising damage, and working within the allocated time, in accordance with organisational requirements which are equal to or exceed current statutory and legislative requirements This standard is for people working in the occupational area of plastering and can be used by operatives, supervisors and managers |  |  |