| NOS Title | NOS Reference and New Version | Grid version control | Edit date | Edits by |
| --- | --- | --- | --- | --- |
| Produce internal solid plastering finishes | COSVR66v3 | Edit 1 | 06/09 | Barry |

| Performance criteria Meet the contract specification | Knowledge and understanding P5 Meet the contract specification | Knowledge and understanding P3 Selection of resources |
| --- | --- | --- |
| P5 EDIT You must be able to: | K24 EDIT You need to know and understand: | K17 EDIT You need to know and understand: |
| comply with the contract information to produce internal solid plastering finishes efficiently to the required specification by: - demonstrating work skills to: - measure - mark out - prepare - mix - apply - finish - using and maintaining hand and power tools, and equipment - preparing background surfaces, mixing and applying internal plasters to working instructions relating to the following - one- coat work - two-coat work - 90° internal and external angles - reveals, cills and soffits (door or windows) - walls and ceilings | how to meet the contract specification in relation to the following: - how to mix plaster - why it is important to prepare background surfaces - how to install expanded metal lath (EML) and timber lath - how to apply and finish one- and two-coat plasterwork to the following: - internal solid backgrounds - EML - timber lath backgrounds - how to install and finish manufactured boards to walls and ceilings - how to form internal and external angles, reveals and expansion joints - how to recognise and determine when specialist skills and knowledge are required and report accordingly - how to recognise specific requirements for structures of special interest, traditional construction, hard-to-treat buildings and historical significance - how to use all hand and power tools and equipment - how to work at height using access equipment - the relevance of an assessment of significance - how to work with, around and in close proximity to plant and machinery - how and why operative care and maintenance of all hand and power tools and equipment is carried out | how the resources should be used and how any problems associated with the resources are reported in relation to: - backing coat and finishing plasters, sand, lime, cement and additives - beads, trims and fibre or paper tapes - manufactured boards - hand and power tools and equipment - digital equipment |
| Key Words |  |  |
| One-coat; Two-coat; Mixing-plasters; Preparing-backgrounds; Expanded metal lath; Expansion-joints; Timber lath; Finishing plasters |  |  |
| Overview |  |  |
| This standard is about producing internal solid plastering finishes. It involves preparing background surfaces, mixing and applying internal plasters to one-coat work, two-coat work, 90° internal and external angles, reveals, cills and soffits (door or windows), and walls and ceilings. This standard will also involve interpreting information, adopting safe, healthy and environmentally responsible work practices, selecting and using materials, components, tools and equipment in accordance with organisational requirements which are equal to or exceed current statutory and legislative requirements This standard is for people working in the occupational area of plastering and can be used by operatives, supervisors and managers |  |  |